## Categorization
Description | Source_Sheet | Frequency | Auto_Category | Match_Type | Confidence | Category | Notes
All necessary measures to minimize the impacts of the project on landscape and other environmental components (e.g. natural and phisycal screens, noise barriers,…) - Opera di mitigazione perimetrale realizzata in accordo alle specifiche tecniche riportate nelle prescrizioni autorizzative del Decreto di AU | Miscellaneous | 1 |  | none |  | Civil Works
Unloading and Storage of PV Modules | Miscellaneous | 1 |  | none |  | Electrical Works
CLEANING UP EXPLOSIVES AND REMNANTS OF WAR | Civil Works | 1 |  | none |  | Civil Works
Active anti-rodent System [L] - Supply | EMBOP_SI | 1 |  | none |  | Electrical Works
Active anti-rodent System [L] - Installation | EMBOP_SI | 1 |  | none |  | Electrical Works
SUPPLY of vibrated reinforced concrete DELIVERY CABIN (CABINA di CONSEGNA) in accordance with the local Regulation of TSO (in Italy is E-Distribuzione Technical Specification DG 2061) - Consisting of two rooms: MV Room, measurement room. Including all the following main and auxiliary components: - Fiscal Energy Meetering System - Lighting systems - Earthing system - MV, LV and communication cables -[Q] - Supply - Elevation structure and foundation (including excavation, backfilling, disposal, and concretes), ground zero slab all fully completed at civil level as indicated in the specification. Earthworks and drainages for platform and area finishing (e.g. sidewalk if needed) excluded. | EMBOP_SI | 1 |  | none |  | Electrical Works
Supply and internal connections of vibrated reinforced concrete USER CABIN (CABINA UTENTE) according to paragraphs PPP.PVP.MVC.02 MV DISTRIBUTION CENTER and PPP.PVP.MVC.03 MV CENTER ENCLOSURE and IEC 62271-202 with IAC A Certification - Consisting of three rooms: MV room, transformer aux room, LV+SCADA room. Electrical part: All main and auxiliary components contained in the cabin: - Protection System Equipment (SPG/DG + SPI/DI + DDR) - Fiscal Energy Meetering System - Gas vent channel MV SWG - Fire detection system - Air conditioning system - Anti-rodent system - Normal and emergency lighting system internal and external - Transformation room ventilation system - Normal + Emergency FM sockets - MV, LV, communication and control cables - Earthing system - Any other necessary components - Elevation structure and foundation (including excavation, backfilling, disposal, and concretes), ground zero slab all fully completed at civil level as indicated in the specification. Earthworks and drainages for platform and area finishing (e.g. sidewalk if needed) excluded. | EMBOP_SI | 1 |  | none |  | Electrical Works
Electrical Diesel generator 100kVA [Q] - Supply | EMBOP_SI | 1 |  | none |  | Electrical Works
Electrical Diesel generator 100kVA [Q] - Installation | EMBOP_SI | 1 |  | none |  | Electrical Works
Supply of spare parts for EMBOP as per Technical Specification | Spare Parts | 1 |  | none |  | Electrical Works
Items listed in the document PSC/ESS for health, safety and environmental measures tailored for the Project | HSE (ITA ESP) | 1 |  | none |  | General Costs
HSE Plans: Health & Safety Plan Risk Assesment Lifting Plan Excavation Plan Environmental Plan Environmentali risk Assessment Waste Management Plan Storm Water Management Plan Erosion Management Plan Emergency Plan Traffic management Plan | HSE (ITA ESP) | 1 |  | none |  | General Costs
Active Safety Device to avoid collision or accidents | HSE (ITA ESP) | 1 |  | none |  | General Costs
Sus Plan | SUS | 1 |  | none |  | General Costs
As per Linea guida security rev03 + Elenco elementi security BoQ | Security | 1 |  | none |  | General Costs

## Instructions
Manual Categorization Instructions
Purpose | This file contains descriptions that could not be automatically categorized. Please assign appropriate categories to each description.
How to Use | 1. Go to the 'Categorization' sheet
2. For each description, select a category from the dropdown in the 'Category' column
3. Optionally add notes in the 'Notes' column
4. Save the file when complete
Available Categories | The following categories are available: General Costs, Site Costs, Civil Works, Earth Movement, Roads, OEM Building, Electrical Works, Solar Cables, LV Cables, MV Cables, Trenching, PV Mod. Installation, Cleaning and Cabling of PV Mod., Tracker Inst.
Tips | - Descriptions are sorted by frequency (most frequent first)
- Use the 'Notes' column to record any special considerations
- If a description doesn't fit any category, leave it blank
- You can add new categories by editing the dropdown list
File Information | Generated on: 2025-07-01 23:37:26
Total descriptions to categorize: 14